User Guide: Grafana Dashboard

1. Overview

The Node Exporter Full dashboard is a widely used community dashboard for monitoring Linux hosts with Prometheus Node Exporter.

It provides real-time visibility into:

- CPU usage

- Memory consumption

- Disk space and I/O performance

- Network traffic and errors

- System load averages and uptime

This dashboard is designed for system administrators, DevOps engineers, and developers to monitor the health and performance of infrastructure.

2. Dashboard Variables and Filters

At the top of the dashboard, you will find several drop-down filters (templating variables) that allow you to control the scope of the displayed metrics:

- Datasource (DS_PROMETHEUS) – Select which Prometheus instance to query.

- Job (job) – Typically set to node-exporter, but can be changed if multiple jobs are available.

- Node Name (nodename) – Human-readable name of the host/server.

- Node (node) – The Prometheus scrape target (e.g., node-exporter:9100).

These filters make the dashboard reusable across many nodes and environments.

3. Panels and Metrics

The dashboard is divided into logical sections:

3.1 Quick System Summary

- CPU Busy – Percentage of CPU utilization.

- System Load – Current load averages (1m, 5m, 15m).

- RAM Used – Memory usage percentage.

- Swap Used – Swap space usage.

- Root FS Used – Usage of the root filesystem.

- CPU Cores – Number of CPU cores detected.

- Uptime – Time since last reboot.

3.2 CPU/Mem/Net/Disk

3.3 Memory Metrics

3.4 Disk Metrics

3.5 Network Metrics

3.6 System Load and Processes

4. Alerts and Notifications

By default, this dashboard provides visualization only. Alerts must be configured separately in Grafana or Prometheus Alertmanager. Contact your system administrator if you need alerting enabled.

5. Troubleshooting

- If panels show 'N/A' or 'No data':
  * Ensure Prometheus and Node Exporter are running.
  * Check the datasource settings.
- If dashboard does not refresh: Verify `refresh=5s` in the URL or use the refresh dropdown.
- If wrong node/instance appears: Change filters at the top.
- If access fails: Confirm Grafana is running on port 3001 and credentials are correct.

6. Contact Information

For assistance, contact your system administrator, DevOps, or Grafana support team.